## State Point Analysis
State Point Analysis
Settling Data
Actual |  | V0 |  | m/hr
|  | n | 0.8 | l/g
Daigger (1995) |  | V0 | 6.5 | m/hr
SVI: | 250 | n | 0.5611 | l/g
Daigger/Roper |  | V0 |  | m/hr
SVI: |  | n | 0.6 | l/g
Circular Clarifier Size
Diameter: | 80 | ft
State Points
N1: | 1 | Area1: | 5026.5482 | ft2
Q1: | 3 | mgd | 596.831 | gpd/ft2
X1: | 2 | g/l | 12.9417 | lb/ft2 day
R/Q: | 30% | RAS1: | 0.9 | mgd
RSS1: | 8.6667 | g/l
N2: | 0 | Area2: | 0 | ft2
Q2 | 6 | mgd | #DIV/0! | gpd/ft2
R/Q | 30% | RAS2: | 0.9 | mgd
X2: | 3 | g/l | #DIV/0! | lb/ft2 day
RSS2: | 23 | g/l
Critical Return Sludge Ratio
Rc: | 66.67% |  | NON-CRITICAL
Qc: | 0 | mgd | OVERLOAD
Solids Accumulation SP1 - SP2
Aeration V: | 3.5 | mg
Delta M: | -29190 | lbs
XL: | 12 | g/l
Delta V: | -0.29167 | mg
Depth: | -7.7563 | ft
Solver Functions
V(XL): | 0 | Settling Velocity
G(XL): | 0 | Flux
G'(XL): | 0 | Flux Derivative
ZF(XL): | #DIV/0! | Zero Function
State Point 1 RAS Override: |  |  |  | gpm
|  |  | 0 | mgd
State Point 2 RAS Override: |  |  |  | gpm
|  |  | 0 | mgd
Conversion Factor - |  | 1 MGD is | 694.44 | gpm

## SPA Calculations
State Point Summary Data |  |  |  |  | Flux Development
Clarifier Area | 5026.5482 | ft2 | 466.9663 | m2 | X | Vs - 1 | G -1 | G'-1 | Vs - 2 | G - 2 | Vs - 3 | G - 3 | SOR1 | SUR1 | SOR2 | SUR2 | Delta 1 | Delta 2
SOR1 | 596.831 | gpd/ft2 | 1.0146 | m/hr | g/l | m/hr | Kg/m2/hr |  | m/hr | Kg/m2/hr | m/hr | Kg/m2/hr | g/m2 hr | g/m2 hr | g/m2 hr | g/m2 hr
SUR1 | 179.0493 | gpd/ft2 | 0.30438 | m/hr | 0 | 0 | 0 | 0 | 6.5 | 0 | 0 | 0 | 0 | 2.638 | #DIV/0! | #DIV/0! | -2.638 | #DIV/0!
R/Q1 | 0.3 | 216 |  |  | 0.1 | 0 | 0 | 0.092312 | 6.1453 | 0.61453 | 0 | 0 | 0.10146 | 2.6076 | #DIV/0! | #DIV/0! | -2.6076
RSS1 | 8.6667 | g/l |  |  | 0.2 | 0 | 0 | 0.17043 | 5.81 | 1.162 | 0 | 0 | 0.20292 | 2.5771 | #DIV/0! | #DIV/0! | -2.5771
GO1 | 2.0292 | g/m2 hr |  |  | 0.3 | 0 | 0 | 0.23599 | 5.493 | 1.6479 | 0 | 0 | 0.30438 | 2.5467 | #DIV/0! | #DIV/0! | -2.5467
GT1 | 2.638 | g/m2 hr |  |  | 0.4 | 0 | 0 | 0.29046 | 5.1933 | 2.0773 | 0 | 0 | 0.40585 | 2.5162 | #DIV/0! | #DIV/0! | -2.5162
SOR2 | #DIV/0! | gpd/ft2 | #DIV/0! | m/hr | 0.5 | 0 | 0 | 0.33516 | 4.9099 | 2.4549 | 0 | 0 | 0.50731 | 2.4858 | #DIV/0! | #DIV/0! | -2.4858
SUR2 | #DIV/0! | gpd/ft2 | #DIV/0! | m/hr | 0.6 | 0 | 0 | 0.37127 | 4.642 | 2.7852 | 0 | 0 | 0.60877 | 2.4554 | #DIV/0! | #DIV/0! | -2.4554
R/Q2 | 0.15 |  |  |  | 0.7 | 0 | 0 | 0.39985 | 4.3887 | 3.0721 | 0 | 0 | 0.71023 | 2.4249 | #DIV/0! | #DIV/0! | -2.4249
RSS2 | 23 | g/l |  |  | 0.8 | 0 | 0 | 0.42183 | 4.1492 | 3.3194 | 0 | 0 | 0.81169 | 2.3945 | #DIV/0! | #DIV/0! | -2.3945
GO2 | #DIV/0! | g/m2 hr |  |  | 0.9 | 0 | 0 | 0.43808 | 3.9228 | 3.5305 | 0 | 0 | 0.91315 | 2.364 | #DIV/0! | #DIV/0! | -2.364
GT2 | #DIV/0! | g/m2 hr |  |  | 1 | 0 | 0 | 0.44933 | 3.7088 | 3.7088 | 0 | 0 | 1.0146 | 2.3336 | #DIV/0! | #DIV/0! | -2.3336
[5 empty] | 1.1 | 0 | 0 | 0.45626 | 3.5064 | 3.857 | 0 | 0 | 1.1161 | 2.3032 | #DIV/0! | #DIV/0! | -2.3032
[5 empty] | 1.2 | 0 | 0 | 0.45947 | 3.3151 | 3.9781 | 0 | 0 | 1.2175 | 2.2727 | #DIV/0! | #DIV/0! | -2.2727
1.44 | 7.2576 |  |  |  | 1.3 | 0 | 0 | 0.45949 | 3.1342 | 4.0745 | 0 | 0 | 1.319 | 2.2423 | #DIV/0! | #DIV/0! | -2.2423
2.664 | 8.951 |  |  |  | 1.4 | 0 | 0 | 0.45679 | 2.9632 | 4.1484 | 0 | 0 | 1.4205 | 2.2119 | #DIV/0! | #DIV/0! | -2.2119
3.52 | 8.7437 |  |  |  | 1.5 | 0 | 0 | 0.45179 | 2.8015 | 4.2022 | 0 | 0 | 1.5219 | 2.1814 | #DIV/0! | #DIV/0! | -2.1814
2.88 | 8.9338 |  |  |  | 1.6 | 0 | 0 | 0.44486 | 2.6486 | 4.2378 | 0 | 0 | 1.6234 | 2.151 | #DIV/0! | #DIV/0! | -2.151
4.084 | 8.3314 |  |  |  | 1.7 | 0 | 0 | 0.43632 | 2.5041 | 4.257 | 0 | 0 | 1.7248 | 2.1205 | #DIV/0! | #DIV/0! | -2.1205
3.716 | 8.0712 |  |  |  | 1.8 | 0 | 0 | 0.42647 | 2.3675 | 4.2614 | 0 | 0 | 1.8263 | 2.0901 | #DIV/0! | #DIV/0! | -2.0901
7.6 | 3.7848 |  |  |  | 1.9 | 0 | 0 | 0.41555 | 2.2383 | 4.2528 | 0 | 0 | 1.9278 | 2.0597 | #DIV/0! | #DIV/0! | -2.0597
4.07 | 9.6459 |  |  |  | 2 | 0 | 0 | 0.40379 | 2.1162 | 4.2323 | 0 | 0 | 2.0292 | 2.0292 | #DIV/0! | #DIV/0! | -2.0292
3.93 | 8.253 |  |  |  | 2.1 | 0 | 0 | 0.39139 | 2.0007 | 4.2014 | 0 | 0 | 2.1307 | 1.9988 | #DIV/0! | #DIV/0! | -1.9988
5.34 | 6.06 |  |  |  | 2.2 | 0 | 0 | 0.3785 | 1.8915 | 4.1613 | 0 | 0 | 2.2321 | 1.9683 | #DIV/0! | #DIV/0! | -1.9683
7.22 | 3.34 |  |  |  | 2.3 | 0 | 0 | 0.36528 | 1.7883 | 4.1131 | 0 | 0 | 2.3336 | 1.9379 | #DIV/0! | #DIV/0! | -1.9379
9.36 | 2.3 |  |  |  | 2.4 | 0 | 0 | 0.35186 | 1.6907 | 4.0578 | 0 | 0 | 2.4351 | 1.9075 | #DIV/0! | #DIV/0! | -1.9075
[5 empty] | 2.5 | 0 | 0 | 0.33834 | 1.5985 | 3.9962 | 0 | 0 | 2.5365 | 1.877 | #DIV/0! | #DIV/0! | -1.877
[5 empty] | 2.6 | 0 | 0 | 0.32482 | 1.5113 | 3.9293 | 0 | 0 | 2.638 | 1.8466 | #DIV/0! | #DIV/0! | -1.8466
[5 empty] | 2.7 | 0 | 0 | 0.31138 | 1.4288 | 3.8577 | 0 | 0 | 2.7395 | 1.8162 | #DIV/0! | #DIV/0! | -1.8162
[5 empty] | 2.8 | 0 | 0 | 0.29808 | 1.3508 | 3.7823 | 0 | 0 | 2.8409 | 1.7857 | #DIV/0! | #DIV/0! | -1.7857
[5 empty] | 2.9 | 0 | 0 | 0.28499 | 1.2771 | 3.7037 | 0 | 0 | 2.9424 | 1.7553 | #DIV/0! | #DIV/0! | -1.7553
[5 empty] | 3 | 0 | 0 | 0.27215 | 1.2074 | 3.6223 | 0 | 0 | 3.0438 | 1.7248 | #DIV/0! | #DIV/0! | -1.7248
[5 empty] | 3.1 | 0 | 0 | 0.2596 | 1.1416 | 3.5388 | 0 | 0 | 3.1453 | 1.6944 | #DIV/0! | #DIV/0! | -1.6944
[5 empty] | 3.2 | 0 | 0 | 0.24738 | 1.0793 | 3.4537 | 0 | 0 | 3.2468 | 1.664 | #DIV/0! | #DIV/0! | -1.664
[5 empty] | 3.3 | 0 | 0 | 0.23549 | 1.0204 | 3.3672 | 0 | 0 | 3.3482 | 1.6335 | #DIV/0! | #DIV/0! | -1.6335
[5 empty] | 3.4 | 0 | 0 | 0.22397 | 0.9647 | 3.28 | 0 | 0 | 3.4497 | 1.6031 | #DIV/0! | #DIV/0! | -1.6031
[5 empty] | 3.5 | 0 | 0 | 0.21284 | 0.91206 | 3.1922 | 0 | 0 | 3.5511 | 1.5726 | #DIV/0! | #DIV/0! | -1.5726
[5 empty] | 3.6 | 0 | 0 | 0.20209 | 0.8623 | 3.1043 | 0 | 0 | 3.6526 | 1.5422 | #DIV/0! | #DIV/0! | -1.5422
[5 empty] | 3.7 | 0 | 0 | 0.19173 | 0.81524 | 3.0164 | 0 | 0 | 3.7541 | 1.5118 | #DIV/0! | #DIV/0! | -1.5118
[5 empty] | 3.8 | 0 | 0 | 0.18177 | 0.77076 | 2.9289 | 0 | 0 | 3.8555 | 1.4813 | #DIV/0! | #DIV/0! | -1.4813
[5 empty] | 3.9 | 0 | 0 | 0.17221 | 0.7287 | 2.8419 | 0 | 0 | 3.957 | 1.4509 | #DIV/0! | #DIV/0! | -1.4509
[5 empty] | 4 | 0 | 0 | 0.16305 | 0.68894 | 2.7558 | 0 | 0 | 4.0585 | 1.4205 | #DIV/0! | #DIV/0! | -1.4205
[5 empty] | 4.1 | 0 | 0 | 0.15428 | 0.65135 | 2.6705 | 0 | 0 | 4.1599 | 1.39 | #DIV/0! | #DIV/0! | -1.39
[5 empty] | 4.2 | 0 | 0 | 0.14589 | 0.61581 | 2.5864 | 0 | 0 | 4.2614 | 1.3596 | #DIV/0! | #DIV/0! | -1.3596
[5 empty] | 4.3 | 0 | 0 | 0.13788 | 0.58221 | 2.5035 | 0 | 0 | 4.3628 | 1.3291 | #DIV/0! | #DIV/0! | -1.3291
[5 empty] | 4.4 | 0 | 0 | 0.13024 | 0.55044 | 2.4219 | 0 | 0 | 4.4643 | 1.2987 | #DIV/0! | #DIV/0! | -1.2987
[5 empty] | 4.5 | 0 | 0 | 0.12296 | 0.52041 | 2.3418 | 0 | 0 | 4.5658 | 1.2683 | #DIV/0! | #DIV/0! | -1.2683
[5 empty] | 4.6 | 0 | 0 | 0.11603 | 0.49201 | 2.2632 | 0 | 0 | 4.6672 | 1.2378 | #DIV/0! | #DIV/0! | -1.2378
[5 empty] | 4.7 | 0 | 0 | 0.10943 | 0.46516 | 2.1863 | 0 | 0 | 4.7687 | 1.2074 | #DIV/0! | #DIV/0! | -1.2074
[5 empty] | 4.8 | 0 | 0 | 0.10317 | 0.43978 | 2.111 | 0 | 0 | 4.8701 | 1.177 | #DIV/0! | #DIV/0! | -1.177
[5 empty] | 4.9 | 0 | 0 | 0.097221 | 0.41578 | 2.0373 | 0 | 0 | 4.9716 | 1.1465 | #DIV/0! | #DIV/0! | -1.1465
[5 empty] | 5 | 0 | 0 | 0.091578 | 0.3931 | 1.9655 | 0 | 0 | 5.0731 | 1.1161 | #DIV/0! | #DIV/0! | -1.1161
[5 empty] | 5.1 | 0 | 0 | 0.086228 | 0.37165 | 1.8954 | 0 | 0 | 5.1745 | 1.0856 | #DIV/0! | #DIV/0! | -1.0856
[5 empty] | 5.2 | 0 | 0 | 0.081159 | 0.35137 | 1.8271 | 0 | 0 | 5.276 | 1.0552 | #DIV/0! | #DIV/0! | -1.0552
[5 empty] | 5.3 | 0 | 0 | 0.07636 | 0.3322 | 1.7606 | 0 | 0 | 5.3774 | 1.0248 | #DIV/0! | #DIV/0! | -1.0248
[5 empty] | 5.4 | 0 | 0 | 0.071819 | 0.31407 | 1.696 | 0 | 0 | 5.4789 | 0.99432 | #DIV/0! | #DIV/0! | -0.99432
[5 empty] | 5.5 | 0 | 0 | 0.067525 | 0.29693 | 1.6331 | 0 | 0 | 5.5804 | 0.96388 | #DIV/0! | #DIV/0! | -0.96388
[5 empty] | 5.6 | 0 | 0 | 0.063467 | 0.28073 | 1.5721 | 0 | 0 | 5.6818 | 0.93344 | #DIV/0! | #DIV/0! | -0.93344
[5 empty] | 5.7 | 0 | 0 | 0.059634 | 0.26541 | 1.5129 | 0 | 0 | 5.7833 | 0.90301 | #DIV/0! | #DIV/0! | -0.90301
[5 empty] | 5.8 | 0 | 0 | 0.056015 | 0.25093 | 1.4554 | 0 | 0 | 5.8848 | 0.87257 | #DIV/0! | #DIV/0! | -0.87257
[5 empty] | 5.9 | 0 | 0 | 0.0526 | 0.23724 | 1.3997 | 0 | 0 | 5.9862 | 0.84213 | #DIV/0! | #DIV/0! | -0.84213
[5 empty] | 6 | 0 | 0 | 0.049378 | 0.22429 | 1.3458 | 0 | 0 | 6.0877 | 0.81169 | #DIV/0! | #DIV/0! | -0.81169
[5 empty] | 6.1 | 0 | 0 | 0.046342 | 0.21206 | 1.2935 | 0 | 0 | 6.1891 | 0.78125 | #DIV/0! | #DIV/0! | -0.78125
[5 empty] | 6.2 | 0 | 0 | 0.04348 | 0.20048 | 1.243 | 0 | 0 | 6.2906 | 0.75081 | #DIV/0! | #DIV/0! | -0.75081
[5 empty] | 6.3 | 0 | 0 | 0.040785 | 0.18955 | 1.1941 | 0 | 0 | 6.3921 | 0.72038 | #DIV/0! | #DIV/0! | -0.72038
[5 empty] | 6.4 | 0 | 0 | 0.038247 | 0.1792 | 1.1469 | 0 | 0 | 6.4935 | 0.68994 | #DIV/0! | #DIV/0! | -0.68994
[5 empty] | 6.5 | 0 | 0 | 0.035858 | 0.16942 | 1.1013 | 0 | 0 | 6.595 | 0.6595 | #DIV/0! | #DIV/0! | -0.6595
[5 empty] | 6.6 | 0 | 0 | 0.03361 | 0.16018 | 1.0572 | 0 | 0 | 6.6964 | 0.62906 | #DIV/0! | #DIV/0! | -0.62906
[5 empty] | 6.7 | 0 | 0 | 0.031496 | 0.15144 | 1.0146 | 0 | 0 | 6.7979 | 0.59862 | #DIV/0! | #DIV/0! | -0.59862
[5 empty] | 6.8 | 0 | 0 | 0.029508 | 0.14318 | 0.9736 | 0 | 0 | 6.8994 | 0.56818 | #DIV/0! | #DIV/0! | -0.56818
[5 empty] | 6.9 | 0 | 0 | 0.02764 | 0.13536 | 0.93401 | 0 | 0 | 7.0008 | 0.53774 | #DIV/0! | #DIV/0! | -0.53774
[5 empty] | 7 | 0 | 0 | 0.025885 | 0.12798 | 0.89585 | 0 | 0 | 7.1023 | 0.50731 | #DIV/0! | #DIV/0! | -0.50731
[5 empty] | 7.1 | 0 | 0 | 0.024236 | 0.12099 | 0.85906 | 0 | 0 | 7.2038 | 0.47687 | #DIV/0! | #DIV/0! | -0.47687
[5 empty] | 7.2 | 0 | 0 | 0.022688 | 0.11439 | 0.82363 | 0 | 0 | 7.3052 | 0.44643 | #DIV/0! | #DIV/0! | -0.44643
[5 empty] | 7.3 | 0 | 0 | 0.021235 | 0.10815 | 0.7895 | 0 | 0 | 7.4067 | 0.41599 | #DIV/0! | #DIV/0! | -0.41599
[5 empty] | 7.4 | 0 | 0 | 0.01987 | 0.10225 | 0.75665 | 0 | 0 | 7.5081 | 0.38555 | #DIV/0! | #DIV/0! | -0.38555
[5 empty] | 7.5 | 0 | 0 | 0.018591 | 0.09667 | 0.72503 | 0 | 0 | 7.6096 | 0.35511 | #DIV/0! | #DIV/0! | -0.35511
[5 empty] | 7.6 | 0 | 0 | 0.01739 | 0.091396 | 0.69461 | 0 | 0 | 7.7111 | 0.32468 | #DIV/0! | #DIV/0! | -0.32468
[5 empty] | 7.7 | 0 | 0 | 0.016264 | 0.086409 | 0.66535 | 0 | 0 | 7.8125 | 0.29424 | #DIV/0! | #DIV/0! | -0.29424
[5 empty] | 7.8 | 0 | 0 | 0.015209 | 0.081694 | 0.63721 | 0 | 0 | 7.914 | 0.2638 | #DIV/0! | #DIV/0! | -0.2638
[5 empty] | 7.9 | 0 | 0 | 0.01422 | 0.077236 | 0.61017 | 0 | 0 | 8.0154 | 0.23336 | #DIV/0! | #DIV/0! | -0.23336
[5 empty] | 8 | 0 | 0 | 0.013292 | 0.073022 | 0.58417 | 0 | 0 | 8.1169 | 0.20292 | #DIV/0! | #DIV/0! | -0.20292
[5 empty] | 8.1 | 0 | 0 | 0.012424 | 0.069037 | 0.5592 | 0 | 0 | 8.2184 | 0.17248 | #DIV/0! | #DIV/0! | -0.17248
[5 empty] | 8.2 | 0 | 0 | 0.01161 | 0.06527 | 0.53522 | 0 | 0 | 8.3198 | 0.14205 | #DIV/0! | #DIV/0! | -0.14205
[5 empty] | 8.3 | 0 | 0 | 0.010848 | 0.061709 | 0.51218 | 0 | 0 | 8.4213 | 0.11161 | #DIV/0! | #DIV/0! | -0.11161
[5 empty] | 8.4 | 0 | 0 | 0.010135 | 0.058342 | 0.49007 | 0 | 0 | 8.5227 | 0.081169 | #DIV/0! | #DIV/0! | -0.081169
[5 empty] | 8.5 | 0 | 0 | 0.0094671 | 0.055158 | 0.46885 | 0 | 0 | 8.6242 | 0.050731 | #DIV/0! | #DIV/0! | -0.050731
[5 empty] | 8.6 | 0 | 0 | 0.008842 | 0.052149 | 0.44848 | 0 | 0 | 8.7257 | 0.020292 | #DIV/0! | #DIV/0! | -0.020292
[5 empty] | 8.7 | 0 | 0 | 0.0082571 | 0.049303 | 0.42894 | 0 | 0 | 8.8271 | -0.010146 | #DIV/0! | #DIV/0! | 0.010146
[5 empty] | 8.8 | 0 | 0 | 0.0077099 | 0.046613 | 0.41019 | 0 | 0 | 8.9286 | -0.040585 | #DIV/0! | #DIV/0! | 0.040585
[5 empty] | 8.9 | 0 | 0 | 0.007198 | 0.044069 | 0.39222 | 0 | 0 | 9.0301 | -0.071023 | #DIV/0! | #DIV/0! | 0.071023
[5 empty] | 9 | 0 | 0 | 0.0067193 | 0.041665 | 0.37498 | 0 | 0 | 9.1315 | -0.10146 | #DIV/0! | #DIV/0! | 0.10146
[5 empty] | 9.1 | 0 | 0 | 0.0062716 | 0.039391 | 0.35846 | 0 | 0 | 9.233 | -0.1319 | #DIV/0! | #DIV/0! | 0.1319
[5 empty] | 9.2 | 0 | 0 | 0.005853 | 0.037242 | 0.34263 | 0 | 0 | 9.3344 | -0.16234 | #DIV/0! | #DIV/0! | 0.16234
[5 empty] | 9.3 | 0 | 0 | 0.0054618 | 0.03521 | 0.32745 | 0 | 0 | 9.4359 | -0.19278 | #DIV/0! | #DIV/0! | 0.19278
[5 empty] | 9.4 | 0 | 0 | 0.005096 | 0.033289 | 0.31291 | 0 | 0 | 9.5374 | -0.22321 | #DIV/0! | #DIV/0! | 0.22321
[5 empty] | 9.5 | 0 | 0 | 0.0047543 | 0.031472 | 0.29899 | 0 | 0 | 9.6388 | -0.25365 | #DIV/0! | #DIV/0! | 0.25365
[5 empty] | 9.6 | 0 | 0 | 0.004435 | 0.029755 | 0.28565 | 0 | 0 | 9.7403 | -0.28409 | #DIV/0! | #DIV/0! | 0.28409
[5 empty] | 9.7 | 0 | 0 | 0.0041366 | 0.028131 | 0.27287 | 0 | 0 | 9.8417 | -0.31453 | #DIV/0! | #DIV/0! | 0.31453
[5 empty] | 9.8 | 0 | 0 | 0.003858 | 0.026596 | 0.26065 | 0 | 0 | 9.9432 | -0.34497 | #DIV/0! | #DIV/0! | 0.34497
[5 empty] | 9.9 | 0 | 0 | 0.0035977 | 0.025145 | 0.24894 | 0 | 0 | 10.0447 | -0.37541 | #DIV/0! | #DIV/0! | 0.37541
[5 empty] | 10 | 0 | 0 | 0.0033546 | 0.023773 | 0.23773 | 0 | 0 | 10.1461 | -0.40585 | #DIV/0! | #DIV/0! | 0.40585
[5 empty] | 10.1 | 0 | 0 | 0.0031277 | 0.022476 | 0.22701 | 0 | 0 | 10.2476 | -0.43628 | #DIV/0! | #DIV/0! | 0.43628
[5 empty] | 10.2 | 0 | 0 | 0.0029158 | 0.02125 | 0.21675 | 0 | 0 | 10.3491 | -0.46672 | #DIV/0! | #DIV/0! | 0.46672
[5 empty] | 10.3 | 0 | 0 | 0.002718 | 0.02009 | 0.20693 | 0 | 0 | 10.4505 | -0.49716 | #DIV/0! | #DIV/0! | 0.49716
[5 empty] | 10.4 | 0 | 0 | 0.0025334 | 0.018994 | 0.19754 | 0 | 0 | 10.552 | -0.5276 | #DIV/0! | #DIV/0! | 0.5276
[5 empty] | 10.5 | 0 | 0 | 0.0023611 | 0.017957 | 0.18855 | 0 | 0 | 10.6534 | -0.55804 | #DIV/0! | #DIV/0! | 0.55804
[5 empty] | 10.6 | 0 | 0 | 0.0022003 | 0.016978 | 0.17996 | 0 | 0 | 10.7549 | -0.58848 | #DIV/0! | #DIV/0! | 0.58848
[5 empty] | 10.7 | 0 | 0 | 0.0020503 | 0.016051 | 0.17175 | 0 | 0 | 10.8564 | -0.61891 | #DIV/0! | #DIV/0! | 0.61891
[5 empty] | 10.8 | 0 | 0 | 0.0019104 | 0.015175 | 0.16389 | 0 | 0 | 10.9578 | -0.64935 | #DIV/0! | #DIV/0! | 0.64935
[5 empty] | 10.9 | 0 | 0 | 0.0017798 | 0.014347 | 0.15639 | 0 | 0 | 11.0593 | -0.67979 | #DIV/0! | #DIV/0! | 0.67979
[5 empty] | 11 | 0 | 0 | 0.0016581 | 0.013565 | 0.14921 | 0 | 0 | 11.1607 | -0.71023 | #DIV/0! | #DIV/0! | 0.71023
[5 empty] | 11.1 | 0 | 0 | 0.0015445 | 0.012824 | 0.14235 | 0 | 0 | 11.2622 | -0.74067 | #DIV/0! | #DIV/0! | 0.74067
[5 empty] | 11.2 | 0 | 0 | 0.0014386 | 0.012125 | 0.1358 | 0 | 0 | 11.3637 | -0.77111 | #DIV/0! | #DIV/0! | 0.77111
[5 empty] | 11.3 | 0 | 0 | 0.0013399 | 0.011463 | 0.12953 | 0 | 0 | 11.4651 | -0.80154 | #DIV/0! | #DIV/0! | 0.80154
[5 empty] | 11.4 | 0 | 0 | 0.0012478 | 0.010838 | 0.12355 | 0 | 0 | 11.5666 | -0.83198 | #DIV/0! | #DIV/0! | 0.83198
[5 empty] | 11.5 | 0 | 0 | 0.001162 | 0.010246 | 0.11783 | 0 | 0 | 11.668 | -0.86242 | #DIV/0! | #DIV/0! | 0.86242
[5 empty] | 11.6 | 0 | 0 | 0.0010819 | 0.0096871 | 0.11237 | 0 | 0 | 11.7695 | -0.89286 | #DIV/0! | #DIV/0! | 0.89286
[5 empty] | 11.7 | 0 | 0 | 0.0010074 | 0.0091585 | 0.10715 | 0 | 0 | 11.871 | -0.9233 | #DIV/0! | #DIV/0! | 0.9233
[5 empty] | 11.8 | 0 | 0 | 0.00093787 | 0.0086588 | 0.10217 | 0 | 0 | 11.9724 | -0.95374 | #DIV/0! | #DIV/0! | 0.95374
[5 empty] | 11.9 | 0 | 0 | 0.0008731 | 0.0081863 | 0.097417 | 0 | 0 | 12.0739 | -0.98417 | #DIV/0! | #DIV/0! | 0.98417
[5 empty] | 12 | 0 | 0 | 0.00081274 | 0.0077397 | 0.092876 | 0 | 0 | 12.1754 | -1.0146 | #DIV/0! | #DIV/0! | 1.0146
[5 empty] | 12.1 | 0 | 0 | 0.00075651 | 0.0073173 | 0.08854 | 0 | 0 | 12.2768 | -1.0451 | #DIV/0! | #DIV/0! | 1.0451
[5 empty] | 12.2 | 0 | 0 | 0.00070412 | 0.0069181 | 0.084401 | 0 | 0 | 12.3783 | -1.0755 | #DIV/0! | #DIV/0! | 1.0755
[5 empty] | 12.3 | 0 | 0 | 0.00065531 | 0.0065406 | 0.080449 | 0 | 0 | 12.4797 | -1.1059 | #DIV/0! | #DIV/0! | 1.1059
[5 empty] | 12.4 | 0 | 0 | 0.00060985 | 0.0061837 | 0.076678 | 0 | 0 | 12.5812 | -1.1364 | #DIV/0! | #DIV/0! | 1.1364
[5 empty] | 12.5 | 0 | 0 | 0.0005675 | 0.0058463 | 0.073079 | 0 | 0 | 12.6827 | -1.1668 | #DIV/0! | #DIV/0! | 1.1668
[5 empty] | 12.6 | 0 | 0 | 0.00052806 | 0.0055273 | 0.069644 | 0 | 0 | 12.7841 | -1.1972 | #DIV/0! | #DIV/0! | 1.1972
[5 empty] | 12.7 | 0 | 0 | 0.00049133 | 0.0052257 | 0.066366 | 0 | 0 | 12.8856 | -1.2277 | #DIV/0! | #DIV/0! | 1.2277
[5 empty] | 12.8 | 0 | 0 | 0.00045712 | 0.0049406 | 0.063239 | 0 | 0 | 12.987 | -1.2581 | #DIV/0! | #DIV/0! | 1.2581
[5 empty] | 12.9 | 0 | 0 | 0.00042528 | 0.004671 | 0.060256 | 0 | 0 | 13.0885 | -1.2886 | #DIV/0! | #DIV/0! | 1.2886
[5 empty] | 13 | 0 | 0 | 0.00039562 | 0.0044161 | 0.057409 | 0 | 0 | 13.19 | -1.319 | #DIV/0! | #DIV/0! | 1.319
[5 empty] | 13.1 | 0 | 0 | 0.00036801 | 0.0041751 | 0.054694 | 0 | 0 | 13.2914 | -1.3494 | #DIV/0! | #DIV/0! | 1.3494
[5 empty] | 13.2 | 0 | 0 | 0.00034231 | 0.0039473 | 0.052105 | 0 | 0 | 13.3929 | -1.3799 | #DIV/0! | #DIV/0! | 1.3799
[5 empty] | 13.3 | 0 | 0 | 0.00031839 | 0.0037319 | 0.049635 | 0 | 0 | 13.4943 | -1.4103 | #DIV/0! | #DIV/0! | 1.4103
[5 empty] | 13.4 | 0 | 0 | 0.00029612 | 0.0035283 | 0.047279 | 0 | 0 | 13.5958 | -1.4408 | #DIV/0! | #DIV/0! | 1.4408
[5 empty] | 13.5 | 0 | 0 | 0.00027539 | 0.0033358 | 0.045033 | 0 | 0 | 13.6973 | -1.4712 | #DIV/0! | #DIV/0! | 1.4712
[5 empty] | 13.6 | 0 | 0 | 0.0002561 | 0.0031538 | 0.042891 | 0 | 0 | 13.7987 | -1.5016 | #DIV/0! | #DIV/0! | 1.5016
[5 empty] | 13.7 | 0 | 0 | 0.00023815 | 0.0029817 | 0.040849 | 0 | 0 | 13.9002 | -1.5321 | #DIV/0! | #DIV/0! | 1.5321
[5 empty] | 13.8 | 0 | 0 | 0.00022145 | 0.002819 | 0.038902 | 0 | 0 | 14.0017 | -1.5625 | #DIV/0! | #DIV/0! | 1.5625
[5 empty] | 13.9 | 0 | 0 | 0.0002059 | 0.0026652 | 0.037046 | 0 | 0 | 14.1031 | -1.5929 | #DIV/0! | #DIV/0! | 1.5929
[5 empty] | 14 | 0 | 0 | 0.00019144 | 0.0025197 | 0.035276 | 0 | 0 | 14.2046 | -1.6234 | #DIV/0! | #DIV/0! | 1.6234
[5 empty] | 14.1 | 0 | 0 | 0.00017798 | 0.0023823 | 0.03359 | 0 | 0 | 14.306 | -1.6538 | #DIV/0! | #DIV/0! | 1.6538
[5 empty] | 14.2 | 0 | 0 | 0.00016546 | 0.0022523 | 0.031982 | 0 | 0 | 14.4075 | -1.6843 | #DIV/0! | #DIV/0! | 1.6843
[5 empty] | 14.3 | 0 | 0 | 0.00015382 | 0.0021294 | 0.03045 | 0 | 0 | 14.509 | -1.7147 | #DIV/0! | #DIV/0! | 1.7147
[5 empty] | 14.4 | 0 | 0 | 0.00014298 | 0.0020132 | 0.02899 | 0 | 0 | 14.6104 | -1.7451 | #DIV/0! | #DIV/0! | 1.7451
[5 empty] | 14.5 | 0 | 0 | 0.00013291 | 0.0019033 | 0.027598 | 0 | 0 | 14.7119 | -1.7756 | #DIV/0! | #DIV/0! | 1.7756
[5 empty] | 14.6 | 0 | 0 | 0.00012354 | 0.0017995 | 0.026272 | 0 | 0 | 14.8133 | -1.806 | #DIV/0! | #DIV/0! | 1.806
[5 empty] | 14.7 | 0 | 0 | 0.00011482 | 0.0017013 | 0.025009 | 0 | 0 | 14.9148 | -1.8364 | #DIV/0! | #DIV/0! | 1.8364
[5 empty] | 14.8 | 0 | 0 | 0.00010671 | 0.0016085 | 0.023805 | 0 | 0 | 15.0163 | -1.8669 | #DIV/0! | #DIV/0! | 1.8669
[5 empty] | 14.9 | 0 | 0 | 9.9174e-05 | 0.0015207 | 0.022658 | 0 | 0 | 15.1177 | -1.8973 | #DIV/0! | #DIV/0! | 1.8973
[5 empty] | 15 | 0 | 0 | 9.2163e-05 | 0.0014377 | 0.021566 | 0 | 0 | 15.2192 | -1.9278 | #DIV/0! | #DIV/0! | 1.9278
[5 empty] | 15.1 | 0 | 0 | 8.5645e-05 | 0.0013593 | 0.020525 | 0 | 0 | 15.3207 | -1.9582 | #DIV/0! | #DIV/0! | 1.9582
[5 empty] | 15.2 | 0 | 0 | 7.9583e-05 | 0.0012851 | 0.019534 | 0 | 0 | 15.4221 | -1.9886 | #DIV/0! | #DIV/0! | 1.9886
[5 empty] | 15.3 | 0 | 0 | 7.3948e-05 | 0.001215 | 0.018589 | 0 | 0 | 15.5236 | -2.0191 | #DIV/0! | #DIV/0! | 2.0191
[5 empty] | 15.4 | 0 | 0 | 6.8709e-05 | 0.0011487 | 0.01769 | 0 | 0 | 15.625 | -2.0495 | #DIV/0! | #DIV/0! | 2.0495
[5 empty] | 15.5 | 0 | 0 | 6.3838e-05 | 0.001086 | 0.016833 | 0 | 0 | 15.7265 | -2.08 | #DIV/0! | #DIV/0! | 2.08
[5 empty] | 15.6 | 0 | 0 | 5.931e-05 | 0.0010267 | 0.016017 | 0 | 0 | 15.828 | -2.1104 | #DIV/0! | #DIV/0! | 2.1104
[5 empty] | 15.7 | 0 | 0 | 5.5101e-05 | 0.00097072 | 0.01524 | 0 | 0 | 15.9294 | -2.1408 | #DIV/0! | #DIV/0! | 2.1408
[5 empty] | 15.8 | 0 | 0 | 5.1189e-05 | 0.00091776 | 0.014501 | 0 | 0 | 16.0309 | -2.1713 | #DIV/0! | #DIV/0! | 2.1713
[5 empty] | 15.9 | 0 | 0 | 4.7552e-05 | 0.00086768 | 0.013796 | 0 | 0 | 16.1323 | -2.2017 | #DIV/0! | #DIV/0! | 2.2017
[5 empty] | 16 | 0 | 0 | 4.4172e-05 | 0.00082033 | 0.013125 | 0 | 0 | 16.2338 | -2.2321 | #DIV/0! | #DIV/0! | 2.2321
[5 empty] | 16.1 | 0 | 0 | 4.1031e-05 | 0.00077557 | 0.012487 | 0 | 0 | 16.3353 | -2.2626 | #DIV/0! | #DIV/0! | 2.2626
[5 empty] | 16.2 | 0 | 0 | 3.8112e-05 | 0.00073325 | 0.011879 | 0 | 0 | 16.4367 | -2.293 | #DIV/0! | #DIV/0! | 2.293
[5 empty] | 16.3 | 0 | 0 | 3.5399e-05 | 0.00069324 | 0.0113 | 0 | 0 | 16.5382 | -2.3235 | #DIV/0! | #DIV/0! | 2.3235
[5 empty] | 16.4 | 0 | 0 | 3.2878e-05 | 0.00065542 | 0.010749 | 0 | 0 | 16.6396 | -2.3539 | #DIV/0! | #DIV/0! | 2.3539
[5 empty] | 16.5 | 0 | 0 | 3.0535e-05 | 0.00061965 | 0.010224 | 0 | 0 | 16.7411 | -2.3843 | #DIV/0! | #DIV/0! | 2.3843
[5 empty] | 16.6 | 0 | 0 | 2.8358e-05 | 0.00058584 | 0.009725 | 0 | 0 | 16.8426 | -2.4148 | #DIV/0! | #DIV/0! | 2.4148
[5 empty] | 16.7 | 0 | 0 | 2.6336e-05 | 0.00055388 | 0.0092497 | 0 | 0 | 16.944 | -2.4452 | #DIV/0! | #DIV/0! | 2.4452
[5 empty] | 16.8 | 0 | 0 | 2.4456e-05 | 0.00052365 | 0.0087974 | 0 | 0 | 17.0455 | -2.4757 | #DIV/0! | #DIV/0! | 2.4757
[5 empty] | 16.9 | 0 | 0 | 2.271e-05 | 0.00049508 | 0.0083669 | 0 | 0 | 17.147 | -2.5061 | #DIV/0! | #DIV/0! | 2.5061
[5 empty] | 17 | 0 | 0 | 2.1088e-05 | 0.00046807 | 0.0079571 | 0 | 0 | 17.2484 | -2.5365 | #DIV/0! | #DIV/0! | 2.5365
[5 empty] | 17.1 | 0 | 0 | 1.9582e-05 | 0.00044253 | 0.0075672 | 0 | 0 | 17.3499 | -2.567 | #DIV/0! | #DIV/0! | 2.567
[5 empty] | 17.2 | 0 | 0 | 1.8182e-05 | 0.00041838 | 0.0071962 | 0 | 0 | 17.4513 | -2.5974 | #DIV/0! | #DIV/0! | 2.5974
[5 empty] | 17.3 | 0 | 0 | 1.6881e-05 | 0.00039555 | 0.0068431 | 0 | 0 | 17.5528 | -2.6278 | #DIV/0! | #DIV/0! | 2.6278
[5 empty] | 17.4 | 0 | 0 | 1.5674e-05 | 0.00037397 | 0.0065071 | 0 | 0 | 17.6543 | -2.6583 | #DIV/0! | #DIV/0! | 2.6583
[5 empty] | 17.5 | 0 | 0 | 1.4552e-05 | 0.00035356 | 0.0061874 | 0 | 0 | 17.7557 | -2.6887 | #DIV/0! | #DIV/0! | 2.6887
[5 empty] | 17.6 | 0 | 0 | 1.351e-05 | 0.00033427 | 0.0058832 | 0 | 0 | 17.8572 | -2.7192 | #DIV/0! | #DIV/0! | 2.7192
[5 empty] | 17.7 | 0 | 0 | 1.2542e-05 | 0.00031603 | 0.0055938 | 0 | 0 | 17.9586 | -2.7496 | #DIV/0! | #DIV/0! | 2.7496
[5 empty] | 17.8 | 0 | 0 | 1.1643e-05 | 0.00029879 | 0.0053184 | 0 | 0 | 18.0601 | -2.78 | #DIV/0! | #DIV/0! | 2.78
[5 empty] | 17.9 | 0 | 0 | 1.0808e-05 | 0.00028248 | 0.0050565 | 0 | 0 | 18.1616 | -2.8105 | #DIV/0! | #DIV/0! | 2.8105
[5 empty] | 18 | 0 | 0 | 1.0033e-05 | 0.00026707 | 0.0048073 | 0 | 0 | 18.263 | -2.8409 | #DIV/0! | #DIV/0! | 2.8409
[5 empty] | 18.1 | 0 | 0 | 9.3131e-06 | 0.0002525 | 0.0045702 | 0 | 0 | 18.3645 | -2.8714 | #DIV/0! | #DIV/0! | 2.8714
[5 empty] | 18.2 | 0 | 0 | 8.6446e-06 | 0.00023872 | 0.0043447 | 0 | 0 | 18.466 | -2.9018 | #DIV/0! | #DIV/0! | 2.9018
[5 empty] | 18.3 | 0 | 0 | 8.0238e-06 | 0.00022569 | 0.0041302 | 0 | 0 | 18.5674 | -2.9322 | #DIV/0! | #DIV/0! | 2.9322
[5 empty] | 18.4 | 0 | 0 | 7.4474e-06 | 0.00021338 | 0.0039262 | 0 | 0 | 18.6689 | -2.9627 | #DIV/0! | #DIV/0! | 2.9627
[5 empty] | 18.5 | 0 | 0 | 6.9122e-06 | 0.00020174 | 0.0037321 | 0 | 0 | 18.7703 | -2.9931 | #DIV/0! | #DIV/0! | 2.9931
[5 empty] | 18.6 | 0 | 0 | 6.4152e-06 | 0.00019073 | 0.0035476 | 0 | 0 | 18.8718 | -3.0235 | #DIV/0! | #DIV/0! | 3.0235
[5 empty] | 18.7 | 0 | 0 | 5.9538e-06 | 0.00018032 | 0.003372 | 0 | 0 | 18.9733 | -3.054 | #DIV/0! | #DIV/0! | 3.054
[5 empty] | 18.8 | 0 | 0 | 5.5255e-06 | 0.00017048 | 0.0032051 | 0 | 0 | 19.0747 | -3.0844 | #DIV/0! | #DIV/0! | 3.0844
[5 empty] | 18.9 | 0 | 0 | 5.1278e-06 | 0.00016118 | 0.0030463 | 0 | 0 | 19.1762 | -3.1149 | #DIV/0! | #DIV/0! | 3.1149
[5 empty] | 19 | 0 | 0 | 4.7586e-06 | 0.00015239 | 0.0028953 | 0 | 0 | 19.2776 | -3.1453 | #DIV/0! | #DIV/0! | 3.1453
[5 empty] | 19.1 | 0 | 0 | 4.4158e-06 | 0.00014407 | 0.0027517 | 0 | 0 | 19.3791 | -3.1757 | #DIV/0! | #DIV/0! | 3.1757
[5 empty] | 19.2 | 0 | 0 | 4.0977e-06 | 0.00013621 | 0.0026152 | 0 | 0 | 19.4806 | -3.2062 | #DIV/0! | #DIV/0! | 3.2062
[5 empty] | 19.3 | 0 | 0 | 3.8023e-06 | 0.00012878 | 0.0024854 | 0 | 0 | 19.582 | -3.2366 | #DIV/0! | #DIV/0! | 3.2366
[5 empty] | 19.4 | 0 | 0 | 3.5282e-06 | 0.00012175 | 0.002362 | 0 | 0 | 19.6835 | -3.2671 | #DIV/0! | #DIV/0! | 3.2671
[5 empty] | 19.5 | 0 | 0 | 3.2737e-06 | 0.00011511 | 0.0022446 | 0 | 0 | 19.7849 | -3.2975 | #DIV/0! | #DIV/0! | 3.2975
[5 empty] | 19.6 | 0 | 0 | 3.0375e-06 | 0.00010883 | 0.002133 | 0 | 0 | 19.8864 | -3.3279 | #DIV/0! | #DIV/0! | 3.3279
[5 empty] | 19.7 | 0 | 0 | 2.8183e-06 | 0.00010289 | 0.0020269 | 0 | 0 | 19.9879 | -3.3584 | #DIV/0! | #DIV/0! | 3.3584
[5 empty] | 19.8 | 0 | 0 | 2.6148e-06 | 9.7274e-05 | 0.001926 | 0 | 0 | 20.0893 | -3.3888 | #DIV/0! | #DIV/0! | 3.3888
[5 empty] | 19.9 | 0 | 0 | 2.426e-06 | 9.1966e-05 | 0.0018301 | 0 | 0 | 20.1908 | -3.4192 | #DIV/0! | #DIV/0! | 3.4192
[5 empty] | 20 | 0 | 0 | 2.2507e-06 | 8.6948e-05 | 0.001739 | 0 | 0 | 20.2923 | -3.4497 | #DIV/0! | #DIV/0! | 3.4497
[5 empty] | 20.1 | 0 | 0 | 2.088e-06 | 8.2204e-05 | 0.0016523 | 0 | 0 | 20.3937 | -3.4801 | #DIV/0! | #DIV/0! | 3.4801
[5 empty] | 20.2 | 0 | 0 | 1.9371e-06 | 7.7718e-05 | 0.0015699 | 0 | 0 | 20.4952 | -3.5106 | #DIV/0! | #DIV/0! | 3.5106
[5 empty] | 20.3 | 0 | 0 | 1.797e-06 | 7.3478e-05 | 0.0014916 | 0 | 0 | 20.5966 | -3.541 | #DIV/0! | #DIV/0! | 3.541
[5 empty] | 20.4 | 0 | 0 | 1.667e-06 | 6.9468e-05 | 0.0014172 | 0 | 0 | 20.6981 | -3.5714 | #DIV/0! | #DIV/0! | 3.5714
[5 empty] | 20.5 | 0 | 0 | 1.5464e-06 | 6.5678e-05 | 0.0013464 | 0 | 0 | 20.7996 | -3.6019 | #DIV/0! | #DIV/0! | 3.6019
[5 empty] | 20.6 | 0 | 0 | 1.4345e-06 | 6.2094e-05 | 0.0012791 | 0 | 0 | 20.901 | -3.6323 | #DIV/0! | #DIV/0! | 3.6323
[5 empty] | 20.7 | 0 | 0 | 1.3306e-06 | 5.8706e-05 | 0.0012152 | 0 | 0 | 21.0025 | -3.6628 | #DIV/0! | #DIV/0! | 3.6628
[5 empty] | 20.8 | 0 | 0 | 1.2343e-06 | 5.5503e-05 | 0.0011545 | 0 | 0 | 21.1039 | -3.6932 | #DIV/0! | #DIV/0! | 3.6932
[5 empty] | 20.9 | 0 | 0 | 1.1448e-06 | 5.2474e-05 | 0.0010967 | 0 | 0 | 21.2054 | -3.7236 | #DIV/0! | #DIV/0! | 3.7236
[5 empty] | 21 | 0 | 0 | 1.0619e-06 | 4.9611e-05 | 0.0010418 | 0 | 0 | 21.3069 | -3.7541 | #DIV/0! | #DIV/0! | 3.7541
[5 empty] | 21.1 | 0 | 0 | 9.849e-07 | 4.6904e-05 | 0.00098967 | 0 | 0 | 21.4083 | -3.7845 | #DIV/0! | #DIV/0! | 3.7845
[5 empty] | 21.2 | 0 | 0 | 9.1349e-07 | 4.4345e-05 | 0.00094011 | 0 | 0 | 21.5098 | -3.8149 | #DIV/0! | #DIV/0! | 3.8149
[5 empty] | 21.3 | 0 | 0 | 8.4723e-07 | 4.1925e-05 | 0.000893 | 0 | 0 | 21.6113 | -3.8454 | #DIV/0! | #DIV/0! | 3.8454
[5 empty] | 21.4 | 0 | 0 | 7.8576e-07 | 3.9637e-05 | 0.00084824 | 0 | 0 | 21.7127 | -3.8758 | #DIV/0! | #DIV/0! | 3.8758
[5 empty] | 21.5 | 0 | 0 | 7.2874e-07 | 3.7475e-05 | 0.0008057 | 0 | 0 | 21.8142 | -3.9063 | #DIV/0! | #DIV/0! | 3.9063
[5 empty] | 21.6 | 0 | 0 | 6.7584e-07 | 3.543e-05 | 0.00076528 | 0 | 0 | 21.9156 | -3.9367 | #DIV/0! | #DIV/0! | 3.9367
[5 empty] | 21.7 | 0 | 0 | 6.2677e-07 | 3.3497e-05 | 0.00072688 | 0 | 0 | 22.0171 | -3.9671 | #DIV/0! | #DIV/0! | 3.9671
[5 empty] | 21.8 | 0 | 0 | 5.8125e-07 | 3.1669e-05 | 0.00069038 | 0 | 0 | 22.1186 | -3.9976 | #DIV/0! | #DIV/0! | 3.9976
[5 empty] | 21.9 | 0 | 0 | 5.3902e-07 | 2.9941e-05 | 0.0006557 | 0 | 0 | 22.22 | -4.028 | #DIV/0! | #DIV/0! | 4.028
[5 empty] | 22 | 0 | 0 | 4.9985e-07 | 2.8307e-05 | 0.00062276 | 0 | 0 | 22.3215 | -4.0585 | #DIV/0! | #DIV/0! | 4.0585
[5 empty] | 22.1 | 0 | 0 | 4.6352e-07 | 2.6763e-05 | 0.00059145 | 0 | 0 | 22.4229 | -4.0889 | #DIV/0! | #DIV/0! | 4.0889
[5 empty] | 22.2 | 0 | 0 | 4.2982e-07 | 2.5302e-05 | 0.00056171 | 0 | 0 | 22.5244 | -4.1193 | #DIV/0! | #DIV/0! | 4.1193
[5 empty] | 22.3 | 0 | 0 | 3.9856e-07 | 2.3922e-05 | 0.00053345 | 0 | 0 | 22.6259 | -4.1498 | #DIV/0! | #DIV/0! | 4.1498
[5 empty] | 22.4 | 0 | 0 | 3.6957e-07 | 2.2616e-05 | 0.00050661 | 0 | 0 | 22.7273 | -4.1802 | #DIV/0! | #DIV/0! | 4.1802
[5 empty] | 22.5 | 0 | 0 | 3.4267e-07 | 2.1382e-05 | 0.0004811 | 0 | 0 | 22.8288 | -4.2106 | #DIV/0! | #DIV/0! | 4.2106
[5 empty] | 22.6 | 0 | 0 | 3.1773e-07 | 2.0216e-05 | 0.00045687 | 0 | 0 | 22.9302 | -4.2411 | #DIV/0! | #DIV/0! | 4.2411
[5 empty] | 22.7 | 0 | 0 | 2.946e-07 | 1.9113e-05 | 0.00043385 | 0 | 0 | 23.0317 | -4.2715 | #DIV/0! | #DIV/0! | 4.2715
[5 empty] | 22.8 | 0 | 0 | 2.7315e-07 | 1.807e-05 | 0.00041199 | 0 | 0 | 23.1332 | -4.302 | #DIV/0! | #DIV/0! | 4.302
[5 empty] | 22.9 | 0 | 0 | 2.5326e-07 | 1.7084e-05 | 0.00039122 | 0 | 0 | 23.2346 | -4.3324 | #DIV/0! | #DIV/0! | 4.3324
[5 empty] | 23 | 0 | 0 | 2.3481e-07 | 1.6151e-05 | 0.00037148 | 0 | 0 | 23.3361 | -4.3628 | #DIV/0! | #DIV/0! | 4.3628
[5 empty] | 23.1 | 0 | 0 | 2.177e-07 | 1.527e-05 | 0.00035274 | 0 | 0 | 23.4376 | -4.3933 | #DIV/0! | #DIV/0! | 4.3933
[5 empty] | 23.2 | 0 | 0 | 2.0183e-07 | 1.4437e-05 | 0.00033494 | 0 | 0 | 23.539 | -4.4237 | #DIV/0! | #DIV/0! | 4.4237
[5 empty] | 23.3 | 0 | 0 | 1.8711e-07 | 1.3649e-05 | 0.00031803 | 0 | 0 | 23.6405 | -4.4542 | #DIV/0! | #DIV/0! | 4.4542
[5 empty] | 23.4 | 0 | 0 | 1.7347e-07 | 1.2904e-05 | 0.00030196 | 0 | 0 | 23.7419 | -4.4846 | #DIV/0! | #DIV/0! | 4.4846
[5 empty] | 23.5 | 0 | 0 | 1.6082e-07 | 1.22e-05 | 0.00028671 | 0 | 0 | 23.8434 | -4.515 | #DIV/0! | #DIV/0! | 4.515
[5 empty] | 23.6 | 0 | 0 | 1.4908e-07 | 1.1535e-05 | 0.00027222 | 0 | 0 | 23.9449 | -4.5455 | #DIV/0! | #DIV/0! | 4.5455
[5 empty] | 23.7 | 0 | 0 | 1.3821e-07 | 1.0905e-05 | 0.00025845 | 0 | 0 | 24.0463 | -4.5759 | #DIV/0! | #DIV/0! | 4.5759
[5 empty] | 23.8 | 0 | 0 | 1.2812e-07 | 1.031e-05 | 0.00024538 | 0 | 0 | 24.1478 | -4.6063 | #DIV/0! | #DIV/0! | 4.6063
[5 empty] | 23.9 | 0 | 0 | 1.1876e-07 | 9.7476e-06 | 0.00023297 | 0 | 0 | 24.2492 | -4.6368 | #DIV/0! | #DIV/0! | 4.6368
[5 empty] | 24 | 0 | 0 | 1.1009e-07 | 9.2157e-06 | 0.00022118 | 0 | 0 | 24.3507 | -4.6672 | #DIV/0! | #DIV/0! | 4.6672
[5 empty] | 24.1 | 0 | 0 | 1.0205e-07 | 8.7129e-06 | 0.00020998 | 0 | 0 | 24.4522 | -4.6977 | #DIV/0! | #DIV/0! | 4.6977
[5 empty] | 24.2 | 0 | 0 | 9.4596e-08 | 8.2375e-06 | 0.00019935 | 0 | 0 | 24.5536 | -4.7281 | #DIV/0! | #DIV/0! | 4.7281
[5 empty] | 24.3 | 0 | 0 | 8.7684e-08 | 7.788e-06 | 0.00018925 | 0 | 0 | 24.6551 | -4.7585 | #DIV/0! | #DIV/0! | 4.7585
[5 empty] | 24.4 | 0 | 0 | 8.1276e-08 | 7.363e-06 | 0.00017966 | 0 | 0 | 24.7566 | -4.789 | #DIV/0! | #DIV/0! | 4.789
[5 empty] | 24.5 | 0 | 0 | 7.5335e-08 | 6.9613e-06 | 0.00017055 | 0 | 0 | 24.858 | -4.8194 | #DIV/0! | #DIV/0! | 4.8194
[5 empty] | 24.6 | 0 | 0 | 6.9826e-08 | 6.5814e-06 | 0.0001619 | 0 | 0 | 24.9595 | -4.8498 | #DIV/0! | #DIV/0! | 4.8498
[5 empty] | 24.7 | 0 | 0 | 6.472e-08 | 6.2223e-06 | 0.00015369 | 0 | 0 | 25.0609 | -4.8803 | #DIV/0! | #DIV/0! | 4.8803
[5 empty] | 24.8 | 0 | 0 | 5.9986e-08 | 5.8828e-06 | 0.00014589 | 0 | 0 | 25.1624 | -4.9107 | #DIV/0! | #DIV/0! | 4.9107
[5 empty] | 24.9 | 0 | 0 | 5.5597e-08 | 5.5618e-06 | 0.00013849 | 0 | 0 | 25.2639 | -4.9412 | #DIV/0! | #DIV/0! | 4.9412
[5 empty] | 25 | 0 | 0 | 5.1529e-08 | 5.2583e-06 | 0.00013146 | 0 | 0 | 25.3653 | -4.9716 | #DIV/0! | #DIV/0! | 4.9716
[5 empty] | 25.1 | 0 | 0 | 4.7757e-08 | 4.9714e-06 | 0.00012478 | 0 | 0 | 25.4668 | -5.002 | #DIV/0! | #DIV/0! | 5.002
[5 empty] | 25.2 | 0 | 0 | 4.4261e-08 | 4.7001e-06 | 0.00011844 | 0 | 0 | 25.5682 | -5.0325 | #DIV/0! | #DIV/0! | 5.0325
[5 empty] | 25.3 | 0 | 0 | 4.102e-08 | 4.4437e-06 | 0.00011243 | 0 | 0 | 25.6697 | -5.0629 | #DIV/0! | #DIV/0! | 5.0629
[5 empty] | 25.4 | 0 | 0 | 3.8016e-08 | 4.2012e-06 | 0.00010671 | 0 | 0 | 25.7712 | -5.0934 | #DIV/0! | #DIV/0! | 5.0934
[5 empty] | 25.5 | 0 | 0 | 3.5232e-08 | 3.972e-06 | 0.00010129 | 0 | 0 | 25.8726 | -5.1238 | #DIV/0! | #DIV/0! | 5.1238
[5 empty] | 25.6 | 0 | 0 | 3.265e-08 | 3.7552e-06 | 9.6134e-05 | 0 | 0 | 25.9741 | -5.1542 | #DIV/0! | #DIV/0! | 5.1542
[5 empty] | 25.7 | 0 | 0 | 3.0258e-08 | 3.5503e-06 | 9.1244e-05 | 0 | 0 | 26.0755 | -5.1847 | #DIV/0! | #DIV/0! | 5.1847
[5 empty] | 25.8 | 0 | 0 | 2.804e-08 | 3.3566e-06 | 8.6601e-05 | 0 | 0 | 26.177 | -5.2151 | #DIV/0! | #DIV/0! | 5.2151
[5 empty] | 25.9 | 0 | 0 | 2.5985e-08 | 3.1735e-06 | 8.2193e-05 | 0 | 0 | 26.2785 | -5.2455 | #DIV/0! | #DIV/0! | 5.2455
[5 empty] | 26 | 0 | 0 | 2.408e-08 | 3.0003e-06 | 7.8008e-05 | 0 | 0 | 26.3799 | -5.276 | #DIV/0! | #DIV/0! | 5.276
[5 empty] | 26.1 | 0 | 0 | 2.2314e-08 | 2.8366e-06 | 7.4035e-05 | 0 | 0 | 26.4814 | -5.3064 | #DIV/0! | #DIV/0! | 5.3064
[5 empty] | 26.2 | 0 | 0 | 2.0677e-08 | 2.6818e-06 | 7.0263e-05 | 0 | 0 | 26.5829 | -5.3369 | #DIV/0! | #DIV/0! | 5.3369
[5 empty] | 26.3 | 0 | 0 | 1.916e-08 | 2.5355e-06 | 6.6683e-05 | 0 | 0 | 26.6843 | -5.3673 | #DIV/0! | #DIV/0! | 5.3673
[5 empty] | 26.4 | 0 | 0 | 1.7754e-08 | 2.3971e-06 | 6.3284e-05 | 0 | 0 | 26.7858 | -5.3977 | #DIV/0! | #DIV/0! | 5.3977
[5 empty] | 26.5 | 0 | 0 | 1.6451e-08 | 2.2663e-06 | 6.0058e-05 | 0 | 0 | 26.8872 | -5.4282 | #DIV/0! | #DIV/0! | 5.4282
[5 empty] | 26.6 | 0 | 0 | 1.5244e-08 | 2.1427e-06 | 5.6995e-05 | 0 | 0 | 26.9887 | -5.4586 | #DIV/0! | #DIV/0! | 5.4586
[5 empty] | 26.7 | 0 | 0 | 1.4125e-08 | 2.0258e-06 | 5.4088e-05 | 0 | 0 | 27.0902 | -5.4891 | #DIV/0! | #DIV/0! | 5.4891
[5 empty] | 26.8 | 0 | 0 | 1.3088e-08 | 1.9152e-06 | 5.1328e-05 | 0 | 0 | 27.1916 | -5.5195 | #DIV/0! | #DIV/0! | 5.5195
[5 empty] | 26.9 | 0 | 0 | 1.2126e-08 | 1.8107e-06 | 4.8708e-05 | 0 | 0 | 27.2931 | -5.5499 | #DIV/0! | #DIV/0! | 5.5499
[5 empty] | 27 | 0 | 0 | 1.1236e-08 | 1.7119e-06 | 4.6222e-05 | 0 | 0 | 27.3945 | -5.5804 | #DIV/0! | #DIV/0! | 5.5804
[5 empty] | 27.1 | 0 | 0 | 1.041e-08 | 1.6185e-06 | 4.3861e-05 | 0 | 0 | 27.496 | -5.6108 | #DIV/0! | #DIV/0! | 5.6108
[5 empty] | 27.2 | 0 | 0 | 9.6454e-09 | 1.5302e-06 | 4.1621e-05 | 0 | 0 | 27.5975 | -5.6412 | #DIV/0! | #DIV/0! | 5.6412
[5 empty] | 27.3 | 0 | 0 | 8.9366e-09 | 1.4467e-06 | 3.9495e-05 | 0 | 0 | 27.6989 | -5.6717 | #DIV/0! | #DIV/0! | 5.6717
[5 empty] | 27.4 | 0 | 0 | 8.2797e-09 | 1.3678e-06 | 3.7477e-05 | 0 | 0 | 27.8004 | -5.7021 | #DIV/0! | #DIV/0! | 5.7021
[5 empty] | 27.5 | 0 | 0 | 7.671e-09 | 1.2931e-06 | 3.5561e-05 | 0 | 0 | 27.9019 | -5.7326 | #DIV/0! | #DIV/0! | 5.7326
[5 empty] | 27.6 | 0 | 0 | 7.107e-09 | 1.2226e-06 | 3.3743e-05 | 0 | 0 | 28.0033 | -5.763 | #DIV/0! | #DIV/0! | 5.763
[5 empty] | 27.7 | 0 | 0 | 6.5844e-09 | 1.1559e-06 | 3.2017e-05 | 0 | 0 | 28.1048 | -5.7934 | #DIV/0! | #DIV/0! | 5.7934
[5 empty] | 27.8 | 0 | 0 | 6.1001e-09 | 1.0928e-06 | 3.038e-05 | 0 | 0 | 28.2062 | -5.8239 | #DIV/0! | #DIV/0! | 5.8239
[5 empty] | 27.9 | 0 | 0 | 5.6513e-09 | 1.0332e-06 | 2.8825e-05 | 0 | 0 | 28.3077 | -5.8543 | #DIV/0! | #DIV/0! | 5.8543
[5 empty] | 28 | 0 | 0 | 5.2355e-09 | 9.7679e-07 | 2.735e-05 | 0 | 0 | 28.4092 | -5.8848 | #DIV/0! | #DIV/0! | 5.8848
[5 empty] | 28.1 | 0 | 0 | 4.8503e-09 | 9.2349e-07 | 2.595e-05 | 0 | 0 | 28.5106 | -5.9152 | #DIV/0! | #DIV/0! | 5.9152
[5 empty] | 28.2 | 0 | 0 | 4.4933e-09 | 8.731e-07 | 2.4621e-05 | 0 | 0 | 28.6121 | -5.9456 | #DIV/0! | #DIV/0! | 5.9456
[5 empty] | 28.3 | 0 | 0 | 4.1625e-09 | 8.2546e-07 | 2.336e-05 | 0 | 0 | 28.7135 | -5.9761 | #DIV/0! | #DIV/0! | 5.9761
[5 empty] | 28.4 | 0 | 0 | 3.8561e-09 | 7.8042e-07 | 2.2164e-05 | 0 | 0 | 28.815 | -6.0065 | #DIV/0! | #DIV/0! | 6.0065
[5 empty] | 28.5 | 0 | 0 | 3.5722e-09 | 7.3783e-07 | 2.1028e-05 | 0 | 0 | 28.9165 | -6.0369 | #DIV/0! | #DIV/0! | 6.0369
[5 empty] | 28.6 | 0 | 0 | 3.3091e-09 | 6.9757e-07 | 1.9951e-05 | 0 | 0 | 29.0179 | -6.0674 | #DIV/0! | #DIV/0! | 6.0674
[5 empty] | 28.7 | 0 | 0 | 3.0654e-09 | 6.5951e-07 | 1.8928e-05 | 0 | 0 | 29.1194 | -6.0978 | #DIV/0! | #DIV/0! | 6.0978
[5 empty] | 28.8 | 0 | 0 | 2.8395e-09 | 6.2352e-07 | 1.7958e-05 | 0 | 0 | 29.2208 | -6.1283 | #DIV/0! | #DIV/0! | 6.1283
[5 empty] | 28.9 | 0 | 0 | 2.6303e-09 | 5.895e-07 | 1.7037e-05 | 0 | 0 | 29.3223 | -6.1587 | #DIV/0! | #DIV/0! | 6.1587
[5 empty] | 29 | 0 | 0 | 2.4365e-09 | 5.5734e-07 | 1.6163e-05 | 0 | 0 | 29.4238 | -6.1891 | #DIV/0! | #DIV/0! | 6.1891
[5 empty] | 29.1 | 0 | 0 | 2.2569e-09 | 5.2692e-07 | 1.5334e-05 | 0 | 0 | 29.5252 | -6.2196 | #DIV/0! | #DIV/0! | 6.2196
[5 empty] | 29.2 | 0 | 0 | 2.0906e-09 | 4.9817e-07 | 1.4547e-05 | 0 | 0 | 29.6267 | -6.25 | #DIV/0! | #DIV/0! | 6.25
[5 empty] | 29.3 | 0 | 0 | 1.9364e-09 | 4.7099e-07 | 1.38e-05 | 0 | 0 | 29.7282 | -6.2805 | #DIV/0! | #DIV/0! | 6.2805
[5 empty] | 29.4 | 0 | 0 | 1.7937e-09 | 4.4529e-07 | 1.3092e-05 | 0 | 0 | 29.8296 | -6.3109 | #DIV/0! | #DIV/0! | 6.3109
[5 empty] | 29.5 | 0 | 0 | 1.6614e-09 | 4.2099e-07 | 1.2419e-05 | 0 | 0 | 29.9311 | -6.3413 | #DIV/0! | #DIV/0! | 6.3413
[5 empty] | 29.6 | 0 | 0 | 1.5389e-09 | 3.9802e-07 | 1.1781e-05 | 0 | 0 | 30.0325 | -6.3718 | #DIV/0! | #DIV/0! | 6.3718
[5 empty] | 29.7 | 0 | 0 | 1.4253e-09 | 3.763e-07 | 1.1176e-05 | 0 | 0 | 30.134 | -6.4022 | #DIV/0! | #DIV/0! | 6.4022
[5 empty] | 29.8 | 0 | 0 | 1.3202e-09 | 3.5577e-07 | 1.0602e-05 | 0 | 0 | 30.2355 | -6.4326 | #DIV/0! | #DIV/0! | 6.4326
[5 empty] | 29.9 | 0 | 0 | 1.2228e-09 | 3.3636e-07 | 1.0057e-05 | 0 | 0 | 30.3369 | -6.4631 | #DIV/0! | #DIV/0! | 6.4631
[5 empty] | 30 | 0 | 0 | 1.1325e-09 | 3.1801e-07 | 9.5402e-06 | 0 | 0 | 30.4384 | -6.4935 | #DIV/0! | #DIV/0! | 6.4935